## Molecular test fields
Company | Test name | Link to test web page | Regulatory status | Gene target | Sample type | Verified LOD | Avg Ct (lowest dilution 10/10) | Clinical sensitivity | Clinical specificity | Source of performance data | Turn-around time | Sample prep integrated? | # of tests per instrument run | # of tests / kit | Catalog number | PCR instrument platform | Supplier recommended Ct cut-off | Customer Support by Email or Web | Company point of contact | Company telephone number | Company address: street | Company address: city | Company address: state or province | Company address: country | Company address: postal code | Cost / kit | Test in stock? | Lead time to ship orders | Company stage | Company valuation | Company entgered PCR test market | # of other tests in the marketplace / number with FDA approval / with CE mark | Production rate of tests | Still expanding production capacity?
Center for Disease Control and Prevention | CDC 2019-nCoV Real-Time RT-PCR Diagnostic Panel (CDC) |  | US FDA EUA | N, RnaseP | nasopharyngeal swab, oropharyngeal swab, sputum, lower respiratory tract aspirates, bronchoalveolar lavage, nasopharyngeal wash/aspirate, nasal aspirate | 3 copies per microliter | 32.5 |  |  | https://www.fda.gov/media/134922/download |  | N | 20 | 1000 | 2019-nCoVEUA-01 | ABI 7500 Fast Dx | 40 | respvirus@cdc.gov | Centers for Disease Control and Prevention |  | 1600 Clifton Road ND | Atlanta | GA | USA | 30329
Wadsworth Center New York State Department of Health | New York SARS-CoV-2 Real-time Reverse Transcriptase (RT)- PCR Diagnostic Panel |  | US FDA EUA | N, RnaseP | nasopharyngeal swab, oropharyngeal swab, sputum | 5 copies per microliter | 35.4 |  |  | https://www.fda.gov/media/135847/download |  | N | 20 | 1000 | LVD SOP-151.1 | ABI 7500 Fast Dx | 40 | NYS.CoV2.test.event.report@health.ny.gov | Wadsworth Center New York State Department of Health |  | Empire State Plaza, PO Box 509 | Albany | NY | USA | 12201-0509
Roche Molecular Systems Inc. | cobas SARS-CoV-2 |  | US FDA EUA | ORF1ab, E | nasal swab, nasopharyngeal swab, oropharyngeal swab | 0.009 TCID50 | 32.7 |  |  | https://www.fda.gov/media/136049/download |  | Y | 96 | 192 | 09175431190, 09175440190, 07002238190 | cobas 6800 system, cobas 8800 system |  | n/a | Roche Diagnostics | 1 800 526 1247 | 9115 Hague Road | Indianapolis | IN | USA | 46250-0457
Thermo Fisher Scientific, Inc. | TaqPath COVID-19 Combo Kit |  | US FDA EUA | ORF1ab, N, S, MS2 | nasopharyngeal swab, oropharyngeal swab, nasal swab, mid-turbinate swab, nasopharyngeal aspirate, bronchoalveolar lavage | 10 genome copy equivalents |  |  |  | https://www.fda.gov/media/136112/download |  | N | 96, 384 | 1000 | A47814 | ABI 7500, ThermoFisher QuantStudio 5, ThermoFisher QuantStudio 7 |  | http://www.thermofisher.com/support | Life Technologies Corporation | 1 800 955 6288 | 5781 Van Allen Way | Carlsbad | CA | USA | 92008
Hologic | SARS-CoV-2 Assay (Panther Fusion® System) |  | US FDA EUA | ORF1ab | nasopharyngeal swab, nasal swab, oropharyngeal swab, bronchoalveolar lavage, bronchial wash | 0.01 TCID50 per milliliter |  |  |  | https://www.fda.gov/media/136156/download | 335 tests / 8 hours | Y |  | varies | PRD-04303, PRD-04332, PRD-06404, PRD-04331, PRD-04334, PRD-06391, PRD-04335, PRD-04304 | Panther / Panther Fusion |  | customersupport@hologic.com | Hologic, Inc. | 1 800 442 9892 | 10210 Genetic Center Drive | San Diego | CA | USA | 92121
Quidel Corporation | Lyra® SARS-CoV-2 Assay |  | US FDA EUA | ORF1ab | nasal swab, nasopharyngeal swab, oropharyngeal swab | varies with instrument and sample type |  |  |  | https://www.fda.gov/media/136820/download |  | N | 96 | 96 |  | ABI 7500, ABI 7500 Fast Dx, Bio-Rad CFX96, Qiagen Rotor-Gene Q, Roche LightCycler 480, ThermoFisher QuantStudio 7 |  | customer_service@dhiusa.com | Quidel Corporation | 1 800 874 1517 | 2005 East State Street, Wuite 100 | Athens | OH | USA | 45701
Abbott Molecular | Abbott RealTime SARS-CoV-2 assay |  | US FDA EUA | RdRp, N | nasopharyngeal swab, oropharyngeal swab | 6.2 genome equivalents per reaction |  |  |  | https://www.fda.gov/media/136258/download |  | Y | 96 | 96 | 09N77-095, 09N77-085 | Abbott m2000 System |  | molecularsupport@abbott.com | Abbott Molecular Inc. | 1 800 553 7042 | 1300 East Touhy Avenue | Des Plaines | IA | USA | 60018
DiaSorin Molecular LLC | Simplexa COVID-19 Direct assay |  | US FDA EUA | ORF1ab, S | nasopharyngeal swab, nasal swab, bronchoalveolar lavage | 500 copies per milliliter |  |  |  | https://www.fda.gov/media/136286/download |  | Y | 8 | 24 | MOL4151, MOL1455, MOL4160 | Liason MDX |  | CS.molecular@diasorin.com | DiaSorin Molecular LLC | 1 800 838-4548 | 11331 Valley View Stree | Cypress | CA | USA | 90630
GenMark Diagnostics, Inc. | ePlex SARS-CoV-2 Test |  | US FDA EUA | not specified | nasopharyngeal swab | 10000 copies per milliliter |  |  |  | https://www.fda.gov/media/136282/download |  | Y | 3, 6, 12, 18 or 24 | 12 | EA008212 | ePlex |  | CustomerService@genmarkdx.com | GenMark Diagnostics Inc. | 1 760 448 4300 | 5964 La Place Court | Carlsbad | CA | USA | 92008
Primerdesign Ltd. | Primerdesign Ltd COVID-19 genesig Real-Time PCR assay |  | US FDA EUA | ORF1ab | nasopharyngeal swab, oropharyngeal swab, bronchoalveolar lavage | 0.33 copies per microliter |  |  |  | https://www.fda.gov/media/136823/download |  | N | 96 | 96 | Z-Path-COVID-19-CE | ABI 7500, Bio-Rad CFX Connect, Roche LIghtCycler 480 II |  | orders@primerdesign.co.uk | Primerdesign Ltd | +44 (0) 800 0156 494 | School Lane | Chandler’s Ford |  | UK | SO53 4DG
Cepheid | Xpert Xpress SARS-CoV-2 test |  | US FDA EUA | N2, E | nasopharyngeal swab, oropharyngeal swab, nasal swab, mid-turbinate swab, nasal wash, nasal aspirate | 250 copies per milliliter |  |  |  | https://www.fda.gov/media/136314/download |  | Y | varies | 10 | XPRSARS-COV2-10 | GeneXpert Dx, GeneXpert Infinity, GeneXpert Xpress |  | ordermanagement@cepheid.com | Cepheid Inc. | 1 888 838 3222 | 900 Carribbean Drive | Sunnyvale | CA | USA | 94089
BioFire Defense, LLC | BioFire COVID-19 Test |  | US FDA EUA | ORF1ab, ORF8 | nasopharangeal swab | 330 copies per milliliter |  |  |  | https://www.fda.gov/media/136353/download |  | Y | 1 | 6 or 30 | 423745, 423744, 423748 | FilmArray 2.0, FilmArray Torch |  | support@BioFireDefense.com | BioFire Defense, LLC | 1 801 262 3592 | 79 West 4500 South, Suite 14 | Salt Lake City | UT | USA | 84107
Mesa Biotech Inc. | Accula SARS-Cov-2 Test |  | US FDA EUA | N | nasal swab | 200 copies per reaction |  |  |  | https://www.fda.gov/media/136355/download |  | Y | 1 | 25 | COV4100 | Accula Dock, Silaris Dock |  | info@mesabiotech.com | Mesa Biotech, Inc. | 1 858 800 4929 | 6190 Cornerstone Court East, Suite 220 | San Diego | CA | USA | 92121
1drop Inc. | 1copy COVID-19 qPCR Multi Kit |  | US FDA EUA | RdRp, E | nasopharyngeal swab, anterior nasal swab, midturbinate nasal swab, oropharyngeal swab, nasopharyngeal wash, nasopharangeal aspirate, nasal aspirate | 200 copies per milliliter |  |  |  | https://www.fda.gov/media/137935/download |  | N | 48 | 100 | M22MD100M | Roche LightCycler 480, Qiagen Rotor-Gene Q 5plex HRM, ThermoFisher Quantstudio 5, ABI 7500, Bio-Rad CFX96 |  | cs@1drop.co.kr | 1drop Inc. | +82 70 4275 1248 | A-203, Keumkang Penterium IT Tower, 215, Galmachi-ro, Jungwon-gu | Seongnam-si | Gyeonggi-do | Korea | 13217
Applied DNA Sciences, Inc. | Linea COVID-19 Assay Kit |  | US FDA EUA | S | nasal swab, nasopharyngeal swab, oropharyngeal swab, nasopharyngeal wash, nasopharangeal aspirate, nasal aspirate | 1.25 copies per microliter |  |  |  | https://www.fda.gov/media/138059/download |  | N | 96 | 100, 500, 1000 | DX1001-001-000, DX1001-002-000, DX1001-003-000 | ThermoFisher Quantstudio Dx |  | dxcovid@adnas.com | Applied DNA Sciences Inc. | 1 631 240 8800 | 50 Health Sciences Drive | Stony Brook | NY | USA | 11790
Abbott Molecular Inc. | Alinity m SARS-CoV-2 assay |  | US FDA EUA | RdRp, N | nasopharyngeal swab, oropharyngeal swab, bronchoalveolar lavage | 100 copies per milliliter |  |  |  | https://www.fda.gov/media/137979/download |  | Y | varies | 192 | 09N78-095, 09N78-085 | Alinity m |  | molecularsupport@abbott.com | Abbott Molecular Inc. | 1 800 553 7042 | 1300 East Touhy Avenue | Des Plaines | IA | USA | 60018
Gnomegen LLC | Gnomegen COVID-19 RT-qPCR Detection Kit |  | US FDA EUA | N, RNase P | nasopharyngeal swab, oropharyngeal swab | 10 copies per reaction |  |  |  | https://www.fda.gov/media/137895/download |  | N | 96 | 500 | CV0303 | ABI 7500 Fast Dx |  | sales@gnomegendx.com | Gnomegen LLC | 1 858 375 7581 | 6440 Lusk Blvd Suite D207 | San Diego | CA | USA | 92121
SEASUN BIOMATERIALS | U-TOP COVID-19 Detection Kit |  | US FDA EUA | Orf1ab, N | oropharyngeal and nasopharyngeal swab specimens, anterior nasal and mid-turbinate nasal swabs, nasopharyngeal wash/aspirate or nasal aspirate specimens and sputum |  |  |  |  | https://www.fda.gov/media/137425/download |  | N | 96 | 100 | SS-9930 | CFX 96 real-time PCR detection system (Bio-Rad) with software CFX manager V3.1, Applied Biosystems real-time PCR system 7500 with Software 2.0.6 |  | info@seasunbio.com |  |  | N317, 11-3, Techno 1-ro, Yuseong-gu | Daejeon |  | Republic of Korea | 34015 | [7 empty] | 10,000 kits/week
Rheonix, Inc. | Rheonix COVID-19 MDx Assay |  | US FDA EUA | N1, RNase P | nasopharyngeal swabs, oropharyngeal (throat) swabs, anterior nasal swabs, mid-turbinate nasal swabs, nasal washes, nasal aspirates and bronchoalveolar lavage (BAL) fluid |  |  |  |  | https://www.fda.gov/media/137489/download |  | Y | 24 | 24 | KCCOV19-24 | Rheonix Encompass MDx Workstation |  | techsupport@rheonix.com | Richard A. Montagna | 1-844-743-6649 | 10 Brown Road | Ithaca | NY | USA | 14850
LabGenomics Co., Ltd. | LabGun COVID-19 RT-PCR Kit |  | US FDA EUA | RdRp (Assay 1), E (assay 2) | nasopharyngeal, or oropharyngeal, anterior nasal and mid-turbinate nasal swabs, as well as nasopharyngeal wash/aspirate or nasal aspirate specimens and sputum |  |  |  |  | https://www.fda.gov/media/137483/download |  | N | 96 | 100 | CV9032B | Applied Biosystems™ 7500 Real-time PCR Instrumentsystem, BioRad CFX96™ Real-time PCR detection system |  | COVID-19.TechnicalSupport@labgenomics.com | Myoung Shin Kim | +82-31-628-0726 | Gyeonggi Bio Center #1204, 147 Gw anggyo-ro, Yeongtong-gu | Suwon-si | Gyeonggi-do, | Republic of Korea
BioFire Diagnostics, LLC | BioFire Respiratory Panel 2.1 (RP2.1) |  | US FDA EUA | RNA transcript from the yeast Schizosaccharomyces pombe | nasopharyngeal swabs (NPS) |  |  |  |  | https://www.fda.gov/media/137583/download | 45 mins | Y | 30 | 30 | 423738 | BioFire® FilmArray® 2.0, BioFire® FilmArray® Torch Systems, BioFire® FilmArray® Pouch Loading Station |  | support@BioFireDX.com | Kristen Kanack | 1-800-735-6544 | 515 Colorow Drive | Salt Lake City | UT | USA | 84108
Bio-Rad Laboratories, Inc | Bio-Rad SARS-CoV-2 ddPCR Test |  | US FDA EUA | N, RNase P (RP) | nasopharyngeal, anterior nasal and mid-turbinate nasal swab specimens as well as nasopharyngeal wash/aspirate and nasal aspirate specimens |  |  |  |  | https://www.fda.gov/media/137579/download |  | N | 96 | 200 | PN 12008202 PN 1864021 PN COV019 PN COV000 | QX200™ and QXDx™ Droplet Digital™ PCR Systems |  | www.consult.bio-rad.com | George De La Rosa | 1-800-224-6723 | Digital Biology Group (DBG) 5731 W Las Positas Blvd | Pleasanton | CA | USA | 94588
Sansure BioTech Inc. | Novel Coronavirus (2019-nCoV) Nucleic Acid Diagnostic Kit(PCR-Fluorescence Probing) |  | US FDA EUA | ORF1ab, N | nasopharyngeal swabs, oropharyngeal (throat) swabs, anterior nasal swabs, mid-turbinate swabs, nasal washes, and nasal aspirates | [6 empty] | Y | 96 | 24, 48 | S3104E | ABI 7500 Real-Time PCR System |  | info@sansure.com.cn |  | +86-731-88883176 | No. 680, Lusong Road, Yuelu District | Changsha | Hunan | China | 410205
Fast Track Diagnostics Luxembourg S.á.r.l. (a Siemens Healthineers Company) | FTD SARS-CoV-2 |  | US FDA EUA | N gene and ORF1ab , Equine arteritis virus (EAV) as internal control | nasal, nasopharyngeal, oropharyngeal swabs, and nasopharyngeal wash/aspirate or nasal aspirate) and bronchoalveolar lavage |  |  |  |  | https://www.fda.gov/media/137690/download |  | N | 96 | 96 | 11416302 | Applied Biosystems® 7500 Real-Time PCR System (ThermoFisher Scientific) and the NucliSENS® easyMAG® (bioMérieux) |  | support-ftd.team@siemens-healthineers.com |  | +352 281098-217 | Fast Track Diagnostics Luxembourg S.à.r.l A Siemens Healthineers Company 29, rue Henri Koch | Esch-sur-Alzette |  | Luxembourg | L-4354
Becton, Dickinson & Company | BD SARS-CoV-2Reagents for BD MAX System |  | US FDA EUA | RNA from the nucleocapsid phosphoprotein gene (N1 and N2 regions) of the SARS-CoV-2 coronavirus, and the human RNase P gene | nasal, nasopharyngeal and oropharyngeal swab samples | https://www.fda.gov/media/136816/download |  |  |  | https://www.bd.com/en-us/offerings/capabilities/molecular-diagnostics/molecular-tests/biogx-sars-cov-2-reagents |  | Y |  | 24 | 444213 ¦ BioGX SARS-CoV-2 Reagents for the BD MAX™ System 444214 ¦ BioGX SARS-CoV-2 & RNase P Synthetic Single- Stranded RNA Control Templates | EQUIPMENT AND MATERIALS REQUIRED BUT NOT PROVIDED • BD MAX System (BD Cat. No. 441916) • BD MAX Sample Rack (BD Cat. No. 441935, 443550, 443551, 444807, or 444808) • BD MAX ExK TNA-3 (BD Cat. No. 442827) • BD MAX PCR Cartridges (BD Cat. No. 437519) • SARS-CoV-2 Controls • Copan UTM Collection Kit • BD UVT Collection Kit • Vortex Genie 2 (VWR Cat. No. 58815-235 or equivalent) • Multi-Tube Vortex Mixer (VWR Cat. No. 58816-115 or equivalent) • Rack compatible with a multi-tube vortexer (e.g., Cryogenic Vial Holder or equivalent) • Variable Volume Calibrated Pipettor (750 µL volume capable) • Aerosol resistant micropipette tips • Disposable gloves, powderless |  | BALTIMORECS@BD.COM |  | 800-638-8656 | 1 Becton Drive | Franklin Lakes | NJ | USA | 07417-1880
DiaCarta, Inc | QuantiVirus SARS-CoV-2 Test kit |  | US FDA EUA | N, Orf1ab and E genes | nasal swabs, nasopharyngeal swabs, oropharyngeal swabs, and sputum | https://www.fda.gov/media/136809/download | [5 empty] | N | 96, 384 | 24/48/480 | DC-11-0007 (24 Reactions) DC-11-0008 (48 Reactions) DC-11-0009 (480 Reactions) | QuantStudio 5 Real-Time PCR Instrument and ABI 7500 Fast Dx PCR Instrument |  | covid19support@diacarta.com |  | 510-878-6662 | 2600 Hilltop Drive | Richmond | CA | USA | 94806
Atila BioSystems, Inc. | iAMP COVID-19 Detection Kit |  | US FDA EUA | OMEGA primer sets are designed to specifically detect RNA and later cDNA from the N and ORF-1ab genes | nasal, nasopharyngeal and/or oropharyngeal swabs | https://www.fda.gov/media/136870/download |  |  |  | https://atilabiosystems.com/our-products/covid-19/ | ~1hr | Y | 94 | 100 | iAMP-COVID19-100 | Compatible with Atila Power-Gene 9600 Plus, Bio-Rad CFX96, ABI7500, and other commonly used RT-qPCR instruments with FAM and HEX fluorescent channels |  | info@atilabiosystems.com |  | 1-(650)-544-4516 | 740 Sierra Vista Ave, Suite E, | Mountain View | CA | USA | 94043
Maccura Biotechnology (USA) LLC | SARS-CoV-2 Fluorescent PCR Kit |  | US FDA EUA | ORF1ab, N and E genes | nasopharyngeal swabs, oropharyngeal swabs, nasal swabs, and mid-turbinate swabs) | https://www.fda.gov/media/137026/download |  |  |  | https://www.fda.gov/media/137026/download | 2 hrs | N | 96, 384 | 32/64/96 | SARS-CoV-2 Fluorescent PCR Kit | 7500 Real-Time PCR Systems with v2.3 software (Applied Biosystems) |  | support-USA@ext.maccura.com |  | 240-669-9948 | 11300 Rockville Pike, Suite 715, | Rockville | MD | China | 20852
GenoSensor, LLC | GS™ COVID-19 RT-PCR KIT |  | US FDA EUA | OFR1ab, E, and N genes | nasopharyngeal/ oropharyngeal swabs | https://www.fda.gov/media/137093/download |  |  |  | http://www.genosensorcorp.com/COVID19%20Kit.html | 90 mins | N | 96, 384 | 22/94 | 2702-22 & 2702-94 | Applied Biosystems™ 7500 Fast Dx Real-Time PCR Instrument |  | info@genosensorcorp.com |  | 1-480-598-5378 | 4665 S. Ash Ave. Suite G-18 | Tempe | Arizona | USA | 85282
KorvaLabs Inc. | Curative-Korva SARS-Cov-2 Assay |  | US FDA EUA |  | Oropharyngeal (throat) swab, nasopharyngeal swab, and nasal swabs s | https://www.fda.gov/media/137089/download |  |  |  |  | 31 hrs | N |  |  |  | BioRad CFX 96 Touch, BioRad CFX Connect Real-Time PCR systems and Roche LightCycler 480 II Real-Time PCR systems |  | info@korvalabs.com |  | (424) 645-7575 | 430 S. Cataract Ave. | San Dimas | CA | USA | 91773 | [7 empty] | 5,000 tests per day manufacturing 20,000 test kits
Fosun Pharma USA Inc. | Fosun COVID-19 RT-PCR Detection Kit |  | US FDA EUA | ORF1ab, N gene and E gene | anterior nasal swab, mid-turbinate nasal swab, nasopharyngeal swab, oropharyngeal swab, sputum, lower respiratory tract aspirate, bronchoalveolar lavage, nasopharyngeal wash, nasopharangeal aspirate, nasal aspirate | https://www.fda.gov/media/137120/download |  |  |  | https://www.fda.gov/media/137120/download |  | N |  | 48/96 | PCSYHF02-a; PCSYHF03-a | Applied Biosystems® 7500 Real-Time PCR Systems |  | inquiry@fosunpharmausa.com |  | (866) 611-3762 |  | Princeton | NJ | China | 8540
OSANG Healthcare | GeneFinder COVID-19 Plus RealAmp Kit |  | US FDA EUA | ORF1ab, N gene and E gene | nasopharyngeal, oropharyngeal, nasal, and mid-turbinate nasal swab specimens, bronchoalveolar lavage fluid (BAL), and sputum | https://www.fda.gov/media/137116/download |  |  |  | https://www.fda.gov/media/137116/download |  | N | 96, 384 | 100 | GeneFinder COVID-19 Plus RealAmp Kit | Applied Biosystems® 7500 Real-Time PCR Instrument (ABI 7500), Applied Biosystems®, 7500 Fast Real-Time PCR Instrument (ABI 7500 Fast), or CFX96 Real-Time PCR Instrument (CFX96) |  | jswoo@osanghc.com |  | +82-31-460-0300 | 132 Anyangcheondong-ro, Tel: +82-31-460-0300 | Dongan-gu, Anyang-si, , | Gyeonggi-do | Korea | 14040
Trax Management Services Inc. | PhoenixDx 2019-CoV |  | US FDA EUA | SARS-CoV-2: E gene, N gene and RdRP gene | nasal, nasopharyngeal and oropharyngeal swabs, bronchioalveolar lavage. | https://www.fda.gov/media/137153/download |  |  |  | https://www.antibodies-online.com/kit/6952137/PhoenixDx+2019-nCoV+RNA+Detection+Kit/ | 2hs | N |  |  | PhoenixDx 2019-CoV | BioRad CFX-96 IVD marked instrument with BioRad CFX Manager Software version 3.0, or − Qiagen Rotor-Gene Q software 2.3.5 or higher, or − Applied Biosystems ABI 7500 Fast Real time PCR Dx software version 2.0.4 or higher | < 35 cycles | info@traxconnects.com |  | 1 833 548 8378 | 2900 Atoll Dr. | Lewis Center, | OH | Austria | 43035 | 507
Seegene, Inc. | Allplex 2019-nCoV Assay |  | US FDA EUA | E, RdRP, N | nasopharyngeal swab, oropharyngeal swab, anterior nasal swab, midturbinate and sputum specimens | https://www.fda.gov/media/137178/download |  |  |  | https://www.fda.gov/media/137178/download http://www.seegene.com/assays/allplex_2019_ncov_assay | 110 mins | N | 96 | 384 Conflict with co. webpage of 50 & 100 | RP10250X / RP10252W | CFX96TM Real-time PCR Detection System-IVD (Bio-Rad); or CFX96 TouchTM Real-Time PCR Detection System (Bio-Rad); o CFX ManagerTM Software V3.1; or CFX MaestroTM Software V1 o Seegene Viewer Software V3.20 for analysis and interpretation of result (Seegene Inc.)* |  | support@seegenetech.com |  |  | 325 N Wiget Ln #140, | Walnut Creek | CA | Korea | 94598
altona Diagnostics GmbH | RealStar SARS-CoV02 RT-PCR Kits U.S. |  | US FDA EUA | E gene specific (B-βCoV; including SARS-CoV-2), a second primer for S gene. | nasopharyngeal swabs, oropharyngeal (throat) swabs, anterior nasal swabs, mid-turbinate nasal swabs, nasal washes and nasal aspirates | https://www.fda.gov/media/137252/download |  |  |  | https://www.fda.gov/media/137252/download |  | N |  | 384 | 821005 | CFX96™ Touch Real-Time PCR Detection System (Bio-Rad, Cat. No. 1855195) - CFX Manager™ Software v3.1 • CFX96™ Touch Deep Well Real-Time PCR Detection System (BioRad, Cat. No. 185-4095) - CFX Manager™ Software v3.1 |  | support@altona-diagnostics.com |  | 1 614 706 1784 | 82120 Corporate Boulevard | Plain City, | Ohio | Germany | 43064
SD Biosensor, Inc. | STANDARD M nCoV Real-Time Detection Kit |  | US FDA EUA | ORF1ab (RdRp) gene, E gene, | n nasopharyngeal, oropharyngeal, nasal, and midturbinate nasal swab, and sputum specimens | https://www.fda.gov/media/137302/download |  |  |  | https://www.fda.gov/media/137302/download http://sdbiosensor.com/xe/product/7653 | 90 mins | N |  | 96 | 11NCO10 | LightCycler® 480 (S/W version 1.5.1.62, Roche) ▪ CFX96™ Dx System (S/W version 3.1, Bio-Rad) ▪ Applied Biosystems 7500 Real-Time PCR Instrument System (S/W version 2.0.6, Thermo Fisher Scientific) | ≦ 25 | covid-latam@sdbiosensor.com |  | 82-31-300-0400 | C-4&5 Floor, 16, Deogyeong-daero 1556beon-gil, | Yeongtong-gu,Suwon-si, | Gyeonggi-do, | Korea | 16690
PerkinElmer, Inc. | PerkinElmer New Coronavirus Nucleic Acid Detection Kit |  | US FDA EUA | nucleocapsid (N) gene and ORF1ab | oropharyngeal swab, nasopharyngeal swab | Pre-NAT II system: LoD of 9.307 copies/mL for the ORF1ab target and 30.467 copies/mL for the N target Chemagic 360 system: 7.142 copies/mL for the ORF1ab target and 23.380 copies/mL for the N target |  |  |  | https://www.fda.gov/media/136410/download |  | N | 96 | 48 | 2019-nCoV-PCR-AUS | PerkinElmer® PreNAT II Automated Workstation chemagic™ 360 Applied Biosystems® 7500 Real-Time PCR system. |  | COVID-19.TechnicalSupport@PerkinElmer.com |  | (800) 762-4000 | 7050 Burleson Road | Austin | Texas | USA | 78744
Avellino Lab USA, Inc. | AvellinoCoV2 test |  | US FDA EUA | N, RNase P | oropharyngeal swab, nasopharyngeal swab | 55 copies/µl |  |  |  | https://www.fda.gov/media/136453/download |  | N |  |  |  | Applied Biosystems 7500 Fast Real-Time PCR System |  |  | Connie Chao-Shern Ph.D. |  | 1505 Adams Drive Suite B2 | Menlo Park | CA | USA | 94025
BGI Genomics Co. Ltd | Real-Time Fluorescent RT-PCR Kit for Detecting SARS-CoV-2 |  | US FDA EUA | ORF1ab | oropharyngeal swab, nasopharyngeal swab, anterior nasal swab, mid-turbinate nasal swab, nasal wash, nasal aspirate, bronchoalveolar lavage | 100 Copies/mL |  |  |  | https://www.fda.gov/media/136472/download |  | N |  | 50 reactions/kit |  | Applied Biosystems™ Real-Time PCR System 7500 ABI 7500 Fast Real-Time PCR System Roche LightCycler® 480 System QuantStudio 5 Real-Time PCR System |  |  |  | (+86) 400-706-6615 | Building No. 7, BGI Park, No. 21 Hongan 3rd Street | Shenzhen | Yantian District | China | 518083
Luminex Molecular Diagnostics, Inc. | NxTAG CoV Extended Panel Assay |  | US FDA EUA | ORBF1ab, N, E | nasopharyngeal swab | 5.00E+03 GCE/mL |  |  |  | https://www.fda.gov/media/136500/download |  | N |  |  |  | Luminex®instrument(MAGPIX®) |  | support@luminexcorp.com |  | 1-877-785-2323 | 439 University Ave | Toronto | ON | Canada
Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19 |  | US FDA EUA | RdRp segment of SARS-CoV-2 RNA | Throat swab, nasal swab, nasopharyngael swab | 125 genome equivalents/mL |  |  |  | https://www.fda.gov/media/136525/download | >13 minutes | Y | 1 |  | 190-000: ID NOW COVID-19 Test Kit | ID NOW |  | ts.scr@abbott.com |  | 1-855-731-2288 | 10 Southgate Road | Scarborough | Maine | USA | 4074
QIAGEN GmbH | QIAstat-Dx Respiratory SARS-CoV-2 Panel |  | US FDA EUA | Orf1b poly gene (Rdrp gene) and E genes | nasopharyngeal swabs | 500 copies per milliliter |  |  |  | https://www.fda.gov/media/136571/download |  | Y | 1 | 6 | cat. no. 691223 | QIAstat-Dx Analyzer 1.0 |  |  |  | 800-426-8157 | 19300 Germantown Road, | Germantown | MD | USA | 20874
NeuMoDx Molecular, Inc. | NeuMoDx SARS-CoV-2 Assay |  | US FDA EUA | non-structural protein 2 (Nsp2) gene and the N gene | nasal, nasopharyngeal and oropharyngeal swabs, and bronchoalveolar lavage (BAL) specimens | 150 copies/mL |  |  |  | https://www.fda.gov/media/136565/download |  | Y |  | 96 | 300800 | NeuMoDx™ 288 Molecular System and NeuMoDx™ 96 Molecular System |  | techsupport@neumodx.com |  | +1 888 301 NMDX (6639) | 1250 Eisenhower Place | Ann Arbor | MI | USA | 48108
Ipsum Diagnostics, LLC | COV-19 IDx assay |  | US FDA EUA | SARSCoV-2 nucleocapsid (N) gene and RNase P (RP) | nasopharyngeal and oropharyngeal swab | 8.5 cp/µL |  |  |  | https://www.fda.gov/media/136621/download |  | N |  |  |  | Applied Biosystems QuantStudio12 Flex (QS12) |  | customersupport@ipsumdiagnostics.com | Lauren Bricks, COO | +1678-915-2299 | 8607 Roberts Drive, Suite 125 | Atlanta | GA | USA | 30350
Becton, Dickinson & Company (BD) | BioGX SARS-CoV-2 Reagents for BD MAX System |  | US FDA EUA | nucleocapsid phosphoprotein gene (N1 and N2 regions) of the SARS-CoV-2 coronavirus, and the human RNase P gene | nasopharyngeal and oropharyngeal swab | 40 GE/mL |  |  |  | https://www.fda.gov/media/136653/download |  | Y |  | 24 | 444213 | BD MAX System |  |  |  | 1.800.638.8663 | 7 Loveton Circle | Sparks | MD | USA | 21152
Co-Diagnostics, Inc. | Logix Smart Coronavirus Disease 2019 (COVID-19) Kit |  | US FDA EUA | RdRp | bronchoalveolar lavage, sputum, tracheal aspirate, nasopharyngeal and oropharyngeal swabs | 4.29 copies/µL |  |  |  | https://www.fda.gov/media/136687/download |  | N |  |  | COVID-MM001 | CoDx Box |  | info@codiagnostics.com |  | +1 (801) 438-1036 | 2401 S Foothill Dr. Ste D | Salt Lake City | UT | USA | 84109
ScienCell Research Laboratories | ScienCell SARS-CoV-2 Coronavirus Real-time RT-PCR (RT-qPCR) Detection Kit |  | US FDA EUA | N1, N2 | nasal, nasopharyngeal, oropharyngeal swab specimens, and bronchoalveolar lavage | 3.16 copies/µL |  |  |  | https://www.fda.gov/media/136691/download |  | N |  |  |  | LightCycler® 96 Real-Time PCR System |  | techsupport@sciencellonline.com |  | 1-760-602-8549 | 1610 Faraday Ave | Carslbad | CA | USA | 92008
Luminex Corporation | ARIES SARS-CoV-2 Assay |  | US FDA EUA | Orf1ab, N | nasopharyngeal swab |  |  |  |  | https://www.fda.gov/media/136693/download |  | Y |  | 24 | 50-10047 | Luminex® ARIES Systems |  | support@luminexcorp.com |  | 512-381-4397 | 12212 Technology Blvd. | Austin | TX | USA | 78727
Gnomegen LLC | Gnomegen COVID-19 RT-Digital PCR Detection Kit |  | US FDA EUA | N1, N2, RNase P | nasopharyngeal and oropharyngeal swab |  |  |  |  | https://www.fda.gov/media/137895/download | 3 hours | N | 96 | 500 reactions/kit | CV0303 | Applied Biosystems: 7500 Fast Dx RealTime PCR Systems with SDS 1.4 software |  | techsupport@gnomegendx.com | Stephanie Luong | (858) 375-7581 | 6440 Lusk Blvd Ste D207 | San Diego | CA | USA | 92121
InBios International, Inc | Smart Detect SARS-CoV-2 rRT-PCR Kit |  | US FDA EUA | N, E, ORF1b, RdRp, RNase P | nasopharyngeal swab, anterior nasal swab and midturbinate nasal swab | 1.1E+03 GE/mL |  |  |  | https://www.fda.gov/media/136786/download |  | N |  | 48 |  | Applied Biosystems 7500 |  | https://inbios.com/technical-support/ |  | 1-866-INBIOS1 | 307 Westlake Ave. N., Suite 300 | Seattle | WA | USA | 98109
BioMérieux SA | SARS-COV-2 R-GENE |  | US FDA EUA | N, RdRp (assay 1); E, HPRT1 for cell control (assay 2) | nasopharyngeal swabs, oropharyngeal (throat) swabs, anterior nasal swabs, mid-turbinate nasal swabs, nasal aspirates, nasal washes and bronchoalveolar lavage (BAL) fluid |  |  |  |  | https://www.fda.gov/media/137742/download |  | N | 96, 480 | 120 for assay 1, 30 for assay 2 | 423735 | Applied Biosystems 7500 Fast with software version 2.3, Applied Biosystems 7500 Fast Dx with software version 1.4, Applied Biosystems QuantStudio 5 Dx with software version 1.0, LightCycler 480 (System II) (Roche) with software version 1.5, CFX96 (Bio-Rad) with software Maestro 1.1, Rotor‑Gene Q (Qiagen) with software 2.3. |  | CustomerService-ImmunoMolecular@biomerieux.com | Sophie Vernay | 800-682-2666 | 376 Chemin de l’Orme | Marcy l’Etoile |  | France | 69280
Sherlock BioSciences, Inc. | Sherlock CRISPR SARS-CoV-2 Kit |  | US FDA EUA | ORF1ab, N, RNase P POP7 | nasal swabs, nasopharyngeal swabs, oropharyngeal swabs, nasopharyngeal wash/aspirate or nasal aspirate) and bronchoalveolar lavage specimens |  |  |  |  | https://www.fda.gov/media/137746/download | 1 hour | N | 384 | 33 | TBD | BioTek NEO2 Plate Reader running Gen5 3.08 software |  | support@sherlock.bio | John Vozella | (617) 702-6263 | 35 Spinelli Place | Cambridge | MA | USA | 02138
OPTI Medical Systems, Inc. | OPTI SARS-CoV-2 RT PCR Test |  | US FDA EUA | N1, N2, RNase P | nasal, nasopharyngeal, oropharyngeal swabs, sputum, lower respiratory tract aspirates, bronchoalveolar lavage, and nasopharyngeal wash/aspirate or nasal aspirate |  |  |  |  | https://www.fda.gov/media/137739/download | 2–3.5 hours | N | 96 | 100 | 99-57003 | Applied Biosystems® 7500 FAST, Applied Biosystems® QuantStudio 5, Agilent Mx3005P, Bio Molecular Systems Mic qPCR, Roche LightCycler® 480 |  | Covid19@optimedical.com | Theron Gober | 1-800-490-6784 | 235 Hembree Park Drive | Roswell | GA | USA | 30076
Zymo Research Corporation | Quick SARS-CoV-2rRT-PCR Kit |  | US FDA EUA | N, RNase P | nasal, nasopharyngeal, midturbinate or oropharyngeal swabs, sputum, tracheal aspirates, and bronchoalveolar lavage |  |  |  |  | https://www.fda.gov/media/137780/download | 1.5 hours | N | 96 | 100 | R3011 | Bio-Rad CFX96 Touch Real-Time PCR Detection System with the Bio-Rad CFX Maestro™ 1.1 Version 4.1.2433.1219 software |  | tech@zymoresearch.com | Julie Ogi | +1 888 301 6639 | 17062 Murphy Ave. | Irvine | CA | USA | 92614
Rutgers Clinical Genomics Laboratory at RUCDR Infinite Biologics - Rutgers University | Rutgers Clinical Genomics Laboratory TaqPath SARS-CoV-2Assay |  | US FDA EUA | N, ORF1ab, S | oropharyngeal (throat) swab, nasopharyngeal swab, anterior nasal swab, mid-turbinate nasal swab, and bronchoalveolar lavage (BAL) fluid, saliva when used with Spectrum Solutions SDNA-1000 |  |  |  |  | https://www.fda.gov/media/137776/download | 48 hours | N | 96, 384 |  |  | ThermoFisher Applied Biosystems QuantStudio 5 Real-Time PCR System with software v1.3, Applied Biosystems ViiA7 Real-Time PCR System with Applied Biosystems QuantStudio 5 software v1.3 and Perkin Elmer Chemagic 360 extraction instrument (software v6.3.0.3). |  | rucdr-cgl@dls.rutgers.edu |  | +1 848-445-7081 | Nelson Biology Labs 604 Allison Road | Piscataway | NJ | USA | 08854

## Serological test fields
Company | Test Name | Test format | Test target | Sample type | Sample collection | Regulatory status | Clinical sensitivity | Clinical specificity | Source of performance data | Turn-around time | Sample prep integrated? | # of tests per instrument run | # of tests / kit | Product No. | Test reader required? | Company point of contact | Company telephone number | Company address: street | Company address: city | Company address: state or province | Company address: country | Company address: postal code | Cost / kit | Test in stock? | Lead time to ship orders | Company stage | Company valuation | Company entered serological test market | # of other tests in the marketplace / number with FDA approval / with CE mark / CFDA approval | Production rate of tests | Still expanding production capacity?
Name of company | Commercial name of test | Rapid diagnostic test, ELISA | IgG, IgM, IgG + IgM, viral antigen | Whole blood, serum, plasma | Venipuncture, finger stick |  |  |  | Ideally a link to a document on the internet: published paper, company website, regulatory agency record. |  |  | For ELISA only |  |  | For most RDT this will be "no". Some have readers. N/A for ELISA | [8 empty] | Y/N |  | Private, wholly-owned subsidiary, public | Share price x shares outstanding | Year | W/X/Y/Z | kits / unit time | Y/N
Ortho Clinical Diagnostics, Inc. | VITROS Immunodiagnostic Products Anti-SARS-CoV-2 Total Reagent Pack |  | IgG, IgA and IgM | Serum • K2 EDTA Plasma | 80 μL of sample for each determination | US FDA EUA | 0.95 | 1 | https://www.fda.gov/media/136967/download | 85 mins | Y |  | 100 |  | VITROS ECi/ECiQ/3600 Immunodiagnostic Systems and the VITROS 5600/XT 7600 Integrated Systems | US-CustomerService@orthoclinicaldiagnostics.com | (+1) 800 828 6316 | 100 Indigo Creek Drive | Rochester, | NY | USA | 14626
Chembio Diagnostic System, Inc | DPP COVID-19 IgM/IgG System | Dual sample path paltform that distributes sample onto two assay paths (strips | IgM/IgG | fingerstick whole blood, venous whole blood, serum, or plasma (lithium heparin or EDTA) samples | 10µL Fingerstick | US FDA EUA | >77.4% | >94.7% | https://www.fda.gov/media/136963/download | <25 mins | Y |  | 20 | 65-9569-0 | DPP® Micro Reader Kit for Use with DPP COVID-19 IgM/IgG System 70-1069-0 DPP® Micro Reader II Kit for Use with DPP COVID-19 IgM/IgG System 70-1070-0 | info@chembio.com | 001 631 924 1135 | 3661 HORSEBLOCK ROAD | MEDFORD | NY | USA | 11763
Mount Sinai Laboratory | COVID-19 ELISA IgG Antibody Test | ELISA | IgG | serum and plasma |  | US FDA EUA |  |  | https://www.fda.gov/media/137029/download |  | N | For ELISA only |  |  | Components specific to the COVID-19 ELISA IgG Antibody Test include the recombinant RBD protein and the recombinant full-length Spike protein are both developed at the Mount Sinai Laboratory (MSL)
Autobio Diagnostics Co. Ltd. | Anti-SARS-CoV-2 Rapid Test | Cassette contains membranes which are pre-coated with two mouse anti-human monoclonal antibodies (anti-IgG and anti-IgM) on two separated test lines | IgM and IgG | serum and plasma | 10µL | US FDA EUA | >95.7% | 99% | https://www.fda.gov/media/137367/download https://hardydiagnostics.com/sars-cov-2/ | ~30 + 15 mins | Y |  | 50 | RTA0203 |  | TechService@HardyDiagnostics.com | (805) 346-2766 ext. 5658 | 1430 West McCoy Lane, Santa | Maria | CA | China | 93455
Ortho-Clinical Diagnostics, Inc. | VITROS Immunodiagnostic Products Anti-SARS-CoV-2 IgG Reagent Pack |  | IgG | Serum | 20µL | US FDA EUA | 87.5% | 100% | https://www.fda.gov/media/137363/download | 85 mins |  |  | 100 |  | VITROS ECi/ECiQ/3600 Immunodiagnostic Systems and the VITROS 5600/XT 7600 Integrated Systems | US-CustomerService@orthoclinicaldiagnostics.com | (+1) 800 828 6316 | 100 Indigo Creek Drive | Rochester, | NY | USA | 14626
DiaSorin Inc. | LIAISON SARS-CoV-2 S1/S2 IgG |  | IgG IgG anti-S1 and IgG anti-S2 specific antibodies | serum or plasma | 2.4mL | US FDA EUA | 97.4% | 98.5% | https://www.fda.gov/media/137359/download https://www.diasorin.com/en/immunodiagnostic-solutions/clinical-areas/infectious-diseases/covid-19 | 170 per hour |  | indirect chemiluminescence immunoassay | 100 | 311450 | LIAISON® XL |  | 1.651.439.9710 / +1.800.328.1482 | 1951 Northwestern Avenue - P.O. Box 285 | Stillwater | Minnesota | Italy | 55082-0285
Cellex Inc. | qSARS-CoV-2 IgG/IgM Rapid Test | lateral flow immunoassay | IgG, IgM | serum, plasma (EDTA, citrate) or venipuncture whole blood specimens | 10μL | US FDA EUA | 93.8% | 96% | https://www.fda.gov/media/136625/download |  |  |  | 25, 50, 100 |  | N/A | James X. Li, Ph.D tech@cellex.us |  | 76 TW Alexander Drive | Research Triangle Park | NC | USA | 27709
Quidel Corporation | Sofia 2 SARS Antigen FIA |  | Antigen |  |  | US FDA EUA
Abbott Laboratories Inc. | SARS-CoV-2 IgG assay | two-step immunoassay using CMIA | IgG | serum or plasma | 25 µL | US FDA EUA | 96.77% (≥ 14 days post-symptom onset) | 99.63% | https://www.fda.gov/media/137383/download |  |  |  | 100, 500 | 06R8620 (100 tests) 06R8630 (500 tests) | ARCHITECT i1000SR and i2000SR | Jacob Richards, Ph.D. | 1-877-4ABBOTT | 100 Abbott Park Road | Abbott Park | IL | USA | 60064
Bio-Rad Laboratories, Inc | Platelia SARS-CoV-2 Total Ab assay | ELISA | IgM, IgA, IgG | serum or plasma | 15 µL | US FDA EUA | 100% (serum), 83.33% (plasma) | 99.51% (serum), 100% (plasma) | https://www.fda.gov/media/137493/download |  |  | 96 | 96, 480 | 72710 (96 tests) 12013798 (480 tests) | N/A | TechSupportUSSD-Redmond@bio-rad.com |  | 4000 Alfred Nobel Dr | Hercules | CA | USA | 94547
Wadsworth Center, New York State Department of Health | New York SARS-CoV Microsphere Immunoassay for Antibody Detection | fluorescent immunoassay that uses full-length recombinant nucleocapsid protein | IgG, IgM, IgA | serum |  | US FDA EUA | 88% | 99.6% | https://www.fda.gov/media/137541/download | [5 empty] | Luminex FlexMap dual laser cytometer | NYS.CoV2.test.event.report@health.ny.gov | 518 474 4177 | New York State Department of Health Empire State Plaza, P0 Box 509 | Albany | NY | USA | 10509
Roche Diagnostics | Elecsys Anti-SARS-CoV-2 | electrochemiluminescence immunoassay “ECLIA” | nucleocapsid (N) antigen to determine antibodies | serum or plasma | 20 µL (cobas e411, cobas e601, cobas e602) 12 µL (cobas e801) | US FDA EUA | 100% (≥ 14 days post PCR confirmation) | 99.81% | https://www.fda.gov/media/137605/download | 18 mins |  |  | 200, 300 | 09203095190 (200 tests) 09203079190 (300 tests) | cobas e 411 cobas e 601 cobas e 602 cobas e 801 |  | 1-866-987-6243 | Sandhofer Strasse 116 | Mannheim |  | Germany | D-68305
EUROIMMUN US Inc. | Anti-SARS-CoV-2 ELISA (IgG) | ELISA | IgG | serum or plasma | 10 µl | US FDA EUA | 90% | 100% | https://www.fda.gov/media/137609/download |  | N | 96 | 96 | EI 2606-9601 G | N/A | support@euroimmun.us |  | 1 Bloomfield Avenue | Mountain Lakes | NJ | USA | 7046